GB/T 16913.3-1997 粉尘物性试验

产品型号：JIS粉尘

产品特点：美国亚利桑那试验粉尘#IEC 60312试验粉尘#ISO 12103试验粉尘 021-51082920，韩国ITC沙尘试验箱

JIS粉尘GB/T 16913.3-1997 粉尘物性试验的详细资料：

美国亚利桑那试验粉尘#IEC 60312试验粉尘#ISO 12103试验粉尘 021-51082920，韩国ITC沙尘试验箱ISO 12103-1 A1 Ultrafine Test Dust；ISO 12103-1 A2 Fine Test Dust；ISO 12103-1 A3 Medium Test Dust ISO 12103-1；A4 Coarse Test Dust

5.8.1 Dust Tests.粉尘测试

目的:用来确定当有风沙和路面灰尘干扰时,附件能否提供充分的保护使得DUT继续达到CTS中所指明的运行要求。

过程(操作方式1.2)：测试根据ISO20653针对水等物体的防护。测试须使用ISO12103-1,A2优良等级，同时，粉尘需持续8个小时。

标准：功能状态须为A级

DUT应避免受损,破坏功能,或降解其性能。DUT在清洁前须通过功能/参数测试。

| 0微米至指定尺寸的等级 |  |
| --- | --- |
| 名义尺寸范围 (µm) | 材料品种 |
| 0 –5 | Fe2O3 (Hematite，赤铁矿) Fe3O4 (Magnetite，磁铁矿) |
| 0 – 10 | Fe2O3 (Hematite，赤铁矿) Fe3O4 (Magnetite，磁铁矿) |
| 可接受的尺寸范围是指0微米至指定的尺寸产品中，指定至少包含指定尺寸的颗粒的体积百分为96%。 |  |

| 中等级别产品 |  |
| --- | --- |
| 名义尺寸范围 (µm) | 材料品种 |
| 5 – 10 | Fe2O3 (Hematite，赤铁矿) Fe3O4 (Magnetite，磁铁矿) |
| 中等级氧化铁产品按体积百分比计算，至少包含80%上面指定的尺寸的颗粒。 0微米至指定尺寸的等级. 名义尺寸范围 (µm); 材料品种. 0 – 5; Fe2O3 (Hematite，赤铁矿)Fe3O4 (Magnetite，磁铁矿). 0 – 10; Fe2O3 (Hematite，赤铁矿)Fe3O4 (Magnetite，磁铁矿). 可接受的尺寸范围是指0微米至指定的尺寸产品中，指定至少包含指定尺寸的颗粒的体积百分为96%。. 中等级别产品. 名义尺寸范围(µm); 材料品种. 5 – 10; Fe2O3 (Hematite，赤铁矿)Fe3O4 (Magnetite，磁铁矿). 中等级氧化铁产品按体积百分比计算，至少包含80%上面指定的尺寸的颗粒。. |

美国亚利桑那试验粉尘#IEC 60312试验粉尘#ISO 12103试验粉尘 021-51082920，韩国ITC沙尘试验箱

品牌: 美国PTI

型号:ISO12103-1 A1 Ultra

ISO 12103-1 A1 Ultrafine Test Dust A1粉
PTI 是具备ISO 等级试验粉尘及特殊定制粉尘分布的领先制造商和经销商。具体请阅读：“试验粉尘的历史”来了解PTI在生产ISO12103-1标准中规定的4个等级试验粉尘的角色。专业的工程技术，良好的发展状态，保密产权程序的实施，彻底的分析调查及每个阶段材料处理的评估都让PTI对其客户无论从竞争者或增值服务都脱颖而出。

典型的化学成分分析

| 化学成分 | 重量百分比 | 化学成分 | 重量百分比 |
| --- | --- | --- | --- |
| Si02 | 68 - 76 | Ca0 | 2.0 - 5.0 |
| Al203 | 10 - 15 | Mg0 | 1.0 - 2.0 |
| Fe203 | 2 - 5 | Ti02 | 0.5 - 1.0 |
| Na20 | 2 - 4 | K20 | 2.0 - 5.0 |

*Loss on Ignition 2 – 5%

ISO 试验粉尘颗粒分布(体积百分比小于)

| 尺寸(微米) | ISO 12103-1, A1 超细试验粉尘 |
| --- | --- |
| 1 | 1.0 – 3.0 |
| 2 | 9.0 – 13.0 |
| 3 | 21.0 – 27.0 |
| 4 | 36.0 – 44.0 |
| 5 | 56.0 – 64.0 |
| 7 | 83.0 – 88.0 |
| 10 | 97.0 – 100 |
| 20 | 100 |
| 40 | -- |
| 80 | -- |
| 120 | -- |

PTI粉尘灰灰尘ACFTD灰尘ISO 12103-1 A2 Fine Test Dust A2粉 ISO 12103-1 A4 Coarse Test Dust A4粉 ISO 12103-1 A3 Medium Test Dust A3粉MTD粉尘 Arizona Test Dust Fractions 亚利桑那试验粉尘MIL 810E4 Silica Sand & Dust Iron Oxide 波特兰水泥 Type I Glass Beads 玻璃珠 PV 树脂(喷融树脂) 汽车安全带测试粉尘ECE R16, Section 7.6.3.2 (GB 14166, Section 5.6.3.2液SoftC-2A Quartzose Mineral Dust DMT emission test dust (IEC 60312 5.1.2.5) Test Dust Type 8® DMT test dust type 8 (IEC 60312 5.1.2.3) Quartzose Mineral DMT carpet test dust (IEC 60312 5.1.2.2) DMT Dolomite Sand (IEC 60312 5.1.2.1)A2 ISO 细灰 A4粗灰 亚利桑那沙子亚利桑那试验粉尘 美国ISO MTD粉尘A2测试粉A3中级试验粉尘AC DUST A2 粉尘 ISO 试验粉尘 亚力桑那A2粉尘 美国PTI碳黑粉尘 ISO 12103-2 M2铝粉 A2 ISO 细灰 ISO 12103-2 M3铝粉 ISO 12103-2 M4铝粉ISO 12103-2 M5铝粉JIS CLASS 2级粉尘 PTI 粉尘Nominal 0-5 Arizona Test Dust PTI 粉尘Nominal 10-20 Arizona Test Dust PTI 粗粉 PTI 粉尘Nominal 20-40 Arizona Test Dust 试验用粉尘12103-1 A2类粗粉粗灰美国亚利桑那A1粉 FLY ASH 飞灰Portland Cement波特兰水泥美国亚利桑那M5粉APPIE JIS Z 8901 CLASS 1 试验粉尘APPIE JIS试验用粉体1 8种APPIE关东粉APPIE JIS test powders 1 class8 日本粉体工业技术协会APPIE APPIE JIS Z 8901 试验用粉体1，CLASS 8 APPIE JIS Z 8901 CLASS 15粉尘COTTON LINTERS 棉花纤维铁粉(赤)氧化铁 Carbon Black炭黑Ashrae test dust with carbon black 試験用粉体１の7種, 8種, 11種JIS粉尘是依据JIS(Japanese Industrial Standard，即日本工业标准)生产的试验粉尘，常被用于一些日系产品的检测。本公司可为广大国内用户提供日本进口的下述检测杂质，包括JIS Z 8901的试验粉尘和玻璃珠产品；请在与我们联系的时候描述清楚您需要的是下面哪种产品Quartz sand Talc Fly ash KANTO (Japanese) loam Carbon black Calcium- carbonate (heavy) Glass beads GBL type Glass beads GBM type White fused alumina JIS Z8901 1 种(硅砂) JIS Z8901 3 种(硅砂)JIS Z8901 4 种(滑石粉)JIS Z8901 7 种(关东粉)JIS Z8901 8 种(关东粉)铁粉0-5微米Fe3O4铁粉(赤)0-5微米Fe2O3 铁粉(赤)5-10微米Fe2O3 棉花纤维COTTON LINTERS

美国亚利桑那试验粉尘#IEC 60312试验粉尘#ISO 12103试验粉尘 021-51082920，韩国ITC沙尘试验箱

我司代理的美国PTI试验粉尘应用在包括滤清器行业，电子行业等；德国DMT试验粉尘对于房屋通风系统过滤器应用比较广泛；而日本JIS试验粉尘的也应用在滤清器行业和电子行业；下表列出了来自美国PTI公司官方网站的常用的滤清器行业检测标准；

| Filtration Standards, & Specifications | Contaminants Required | Comments & Information |
| --- | --- | --- |
| ANSI B93.31: Multipass Method for Evaluating the Filtration Performance of a Fine Hydraulic Fluid Power Element | ISO 12103-1, A2 Fine Test Dust (AC Fine Test Dust per standard is obsolete) | B93.31: Hydraulic Filter Multipass Method is cancelled. ISO 16889 has replaced the ANSI B93.31 & NFPA T3.10.8.8 documents |
| ISO 4020: Road Vehicles - Fuel Filters for Diesel Engines | ISO 12103-2, M1 and M2 Aluminum Oxide Test Dusts | An Organic Contaminant is also required, see 4020 standard for details. |
| ISO 4548-4: Initial Particle Retention Efficiency, Life & Cumulative Efficiency (gravimetric method) | ISO 12103-1,A2 Fine Test Dust ISO 12103-2, M2, M3, M4 and M5 Aluminum Oxide Test Dust | Life & Cumulative Efficiency uses A2 Fine Test Dust Initial Particle Retention uses M series of Aluminum Oxide Test Dust |
| ISO 4548-12: Filtration Efficiency using Particle Counting, & Contaminant Retention Capacity | ISO 12103-1, A3 Medium Test Dust | SAE J 1858 Oil Filter Multipass Method is cancelled. ISO 4548-12 has been adopted by SAE |
| ISO 4572: Hydraulic Fluid Power-Filters - Multipass Method | ISO 12103-1, A2 Fine Test Dust (AC Fine Test Dust per std. is obsolete) | SAE J 726 Air Cleaner Test Code is cancelled. ISO 5011 has been adopted by SAE |
| ISO/TS 11155-1: Road Vehicles - Air Filters for Passenger Compartments Part 1: Test for Particulate Filtration | ISO 12103-1, A2 Fine Test Dust | SAE J 1669-1: Cabin Particulate cancelled.ISO/TS 11155-1 has been adopted by SAE |
| ISO/TS 13353: Diesel Fuel & Petrol Filters for Internal Combustion Engines - Initial Efficiency by Particle Counting | ISO 12103-1, A3 Medium Test Dust | ISO/TS 13353 is cancelled & withdrawn. ISO 19438 has replaced 13353 |
| ISO 16889: Hydraulic Fluid Power Filters - Multipass Method for Evaluating Filtration Performance of a Filter Element. | ISO 12103-1, A3 Medium Test Dust | ISO 16889 has replaced 4572 Hydraulic Filter Multipass Test Method |
| ISO 19438: Diesel Fuel & Petrol Filters for Internal Combustion Engines - Filtration Efficiency using Particle Counting & Contaminant Retention Capacity | ISO 12103-1, A3 Medium Test Dust | ISO 19438 has replaced 13353 Fuel Filter Initial Efficiency |
| ISO/CD19713: Inlet Air Cleaning Equipment for Internal Combustion Engines & Compressors -Fractional Efficiency Testing | ISO 12103-1, A2 Fine Test Dust and A4 Coarse Test Dust | This Standard is under development by ISO/TC22/SC7/WG3 Air & Oil Filters |
| JIS D1608: Fuel Filter Test Method for Automotive Gasoline Engines | JIS Z 8901, Class 8 (fine) Test Dust | ISO 12103-1, A2 Fine Test Dust may be substituted if listed in test report and/or with customer agreement |
| JIS D1611: Automotive Parts - Test Methods of Lubricating Oil Filters | SOFTC-2A | Gravimetric Test Method |
| JIS D1617: Automotive Parts - Fuel Filters for Diesel Engines Test Methods | An Organic Contaminant is also required, see D1617 standard for detail. ISO 12103-2Aluminum Oxide Test Dusts JIS Z 8901 Class 8 (fine) Test Dust | ISO 12103-1, A2 Fine Test Dust may be substituted for JIS Z 8901 Class 8 Test Dust if listed in test report and/or with customer agreement |
| NFPA T3.10.8.8: Hydraulic Fluid Power-Filters - Multipass Method for Evaluating Filtration Performance | ISO 12103-1, A2 Fine Test Dust (AC Fine Test Dust per standard is obsolete) | T3.10.8.8 Hydraulic Filter Multipass Method is cancelled. ISO 16889 has replaced the NFPA & ANSI B93.31 documents |
| SAE J 726: Air Cleaner Test Code | ISO 12103-1, A2 Fine Test Dust and A4 Coarse Test Dust | SAE J 726 Air Cleaner Test Code is cancelled. ISO 5011 has been adopted by SAE |
| SAE HS- 806: Oil Filter Test Procedure Section 6: Filter Capacity & Contaminant Removal Characteristics of Full-Flow Oil Filters | ISO 12103-1, A2 Fine Test Dust SOFTC 2A | Gravimetric Test Method for Overall Efficiency & Capacity |
| SAE HS- 806: Oil Filter Test Procedure Section 7: Single Pass Particle Retention Capability Test | Broad Range within 29-470 μm of glass beads Narrow Range in 10 μm fractions of glass beads Natural ISO 12103-1, A4 Coarse Test Dust in full range or fractions thereof | Gravimetric Test Method for Single Pass Efficiency |
| SAE J 905: Fuel Filter Test Methods | ISO 12103-1, A2 Fine Test Dust | Gravimetric Test Method for Efficiency & Capacity |
| SAE J 1669-1: Passenger Compartment Air Filter Test Code - Particulate Filtration | ISO 12103-1, A2 Fine Test Dust | SAE J 1669-1 is cancelled.ISO 11155-1 has been adopted by SAE |
| SAE J 1858: Full-Flow Lubricating Oil Filters Multipass Method for Evaluating Filtration Performance | ISO 12103-1, A3 Medium Test Dust | SAE J 1858 is cancelled.ISO 4548-12 has been adopted by SAE |
| SAE J 1985: Fuel Filters - Initial Single Pass Efficiency Test Method | ISO 12103-1, A2 Fine Test Dust | Particle Counting Fuel Filter Test Method- Fractional Efficiency |

美国亚利桑那试验粉尘#IEC 60312试验粉尘#ISO 12103试验粉尘 021-51082920，韩国ITC沙尘试验箱

Q2、PTI公司的ISO等级的试验粉尘的密度(单位体积重量)大概是多少？

　　1、 ISO 12103-1 A1 Ultrafine – 500 kg/m3
　　2、 ISO 12103-1 A2 Fine – 900 kg/m3
　　3、 ISO 12103-1 A3 Medium – 1025 kg/m3
　　4、 ISO 12103-1 A4 Coarse – 1200 kg/m3

美国亚利桑那试验粉尘#IEC 60312试验粉尘#ISO 12103试验粉尘 021-51082920，韩国ITC沙尘试验箱

Q3、请问 SAE Fine Test dust 是否等同于 ISO 12103-1 A2 Fine Test Dust? SAE J726 试验粉尘和 ISO 12103-1 A2 Fine试验粉尘之间有何区别?

ISO 12103-1, A2 细试验粉尘与1993年之前PTI公司生产的 SAE Fine Test Dust 是相同的。只是由于鉴于依据 ISO 12103-1 标准的测量仪器的升级，其报告的颗粒尺寸要略小一点点。 SAE J726 标准已在2002年作为并由 ISO 5011 取代，ISO 5011 指定使用满足 ISO 12103-1 标准的试验粉尘。关于这个问题的详细信息，点击此处访问试验粉尘的历史。

美国亚利桑那试验粉尘#IEC 60312试验粉尘#ISO 12103试验粉尘 021-51082920，韩国ITC沙尘试验箱

Q4、贵司提供的美国PTI粉尘在过滤行业中的应用表格很有帮助，能否对于德国DMT粉尘的应用也提供类似的表格呢？(2008-11)

| Contaminants | Standards,& Specifications | Comments &Information |
| --- | --- | --- |
| DMT test dust type 8 ®(Simulated house hold dust) | IEC 60312 Ed. 4, 2007, Chap.5.1.2.3 | Composition is described in the standard |
| Mineral dust (dolomite sand) | IEC 60312 Ed. 4, 2007, Chap.5.1.2.1 | Particle size composition -see standard |
| Carpet test dust | IEC 60312 Ed. 4, 2007, Chap.5.1.2.2 | Particle size composition -see standard |
| Emission test dust | IEC 60312 Ed. 4, 2007, Chap.5.1.2.5 | Particle size composition -see standard |
| Customized test dusts or mixture preparations |  |  |

美国亚利桑那试验粉尘#IEC 60312试验粉尘#ISO 12103试验粉尘 021-51082920，韩国ITC沙尘试验箱

Q5、ASHRAE和ANSI是什么意思？
　　ASHRAE 是 American Society of Heating Refrigerating and Airconditioning Engineers 的缩写，意思是美国采暖, 制冷与空调工程师学会；

ANSI 是 American National Standards Institute 的缩写，意思是美国国家标准协会；

Q6、同样尺寸塑料瓶装的ISO 12103-1 A2 Fine试验粉尘的重量为何比ISO 12103-1

A4轻约一公斤？按理说A2粉尘含有更多小颗粒，那应该重量更重才对啊？为何实际情况正好相反？

ISO 12103-1 A2 Fine Test Dust 的确是含有更多的小颗粒，同样容积的塑料瓶内A2的试验粉尘颗粒数目也相对于ISO 12103-1 A4 Coarse Test Dust 更多。　　但是，较大尺寸的粉尘颗粒本身的重量较之小颗粒要更重，虽然A4粉尘的数量不及A2多，但重量却更重；另外，每个单独的粉尘颗粒之间会有空气存在，因此越多颗粒，也就意味着越多的空气，这样的后果就是较低的容重。比如一加仑罐子装0-3微米亚利桑那道路试验粉尘，其重量大概只有1.5公斤，而同样罐子装ISO粗灰，则重达4.5公斤。

美国亚利桑那试验粉尘#IEC 60312试验粉尘#ISO 12103试验粉尘 021-51082920，韩国ITC沙尘试验箱

德国KSL Eskal 300, Eskal 500, Eskal 10, Eskal 15, Eskal 20, Eskal 30, Eskal 45, Eskal 60, Eskal 80, Eskal 150 fractions of natural calcium carbonate德国KSL Esstar 15, Esstar 20, Esstar 30, Esstar 45, Esstar 80 fractions of native starch德国KSL Eszet 15, Eszet 20, Eszet 30, Eszet 45, Eszet 80 fractions of sugar德国KSL Esqua fractions of quartz SiO2德国KSL Arizona staub fine/coarse synthetic,according SAE J 726B Rev,Jun.93 Table 4德国KSL Quarzstaub according ECE 6-16德国KSL Talkumstaub according IEC 529,EN 60529,DIN VDE 0470 Tell 1德国KSL Prufstaub nach DIN 40050喷灰装置 喷灰器 喷沙尘工具 喷试验粉尘装置 喷试验粉尘器 喷试验粉尘工具